## Ventilator Splitting
Item | Qty for single | Qty to split | Vendors (part number) | Price/Unit | Description
22mmF x 22mmF connector | 3 | 8 | Ikaria (80328), GlobalMed Inc (I2222), InterSurgical (196-7000) | -
Ventilator T piece | 0 | 2 | Hull Anesthesia (1981), HEYMED Supply (15003900) | 0.97 | 22M sides, 22F base. Does not require item #1 to connect to ventilator
22Mmm-22Mmm connector | 2 | 6 | Ikaria (1605-3134-000), GlobalMed Inc (I2215), Vitaly Medical (1422H), InterSurgical (1960-6000) | -
One way valve | 2 | 4 | Ikaria (1605-3139-000), InterSurgical (1950000) | - | Female-to-male valve (need component 3 between in flow and previous component; type used in video)
Ball valve | 1 | 2 | Lowes - SharkBite ¼” Ball valve (835048) | 9.78
Y piece | 1 | 2 | Hull Anesthesia (1926), GlobalMed Inc (I106) | 0.84 | 22mm OD x 22mm OD x 15mm ID
HME filter | 1 | 2 | A-M Systems | 60 | Machine side: 15M/22F (22F goes with 22mm OD of item #6) Patient side: 15F/22M
PEEP valve | 1 | 2 | AmbuBag, Mainline Medical (8-90##-23), Intersurgical (22#000) | - | Requires bag to contain outflow, flow continues through bag
Manometer | 1 | 2 | Vitaly Medical (8199), Mercury Medical (1055356) | 317.1 | Type used in video
Pt-manometer T piece | 1 | 2 | Hull Anesthesia (1981) | 0.97 | 22M sides, 22F base. Fits on pt side of HME filter
Rubber grommet | 2 | 4 | Home Depot | 1.51 | 3/4 in. Neoprene Grommet
Spirometer | 1 | 2 | Vitaly Medical (8884719009) | 4.7
Air-tight box | 1 | 2 | The Container Store (10058868) | 13.99
0.5” PVC adapter | 1 | 2 | Home Depot (301541214) | 1.86 | 0.5” PVC adapter to fit through grommet
Ventilator circuit (tubing) | 1 | 2 | Vitaly Medical (RT 114) | 25.67
Tubing from spirometer to Y piece | 1 | 2 | GlobalMed Inc | - | Corrugated tubing, 22mm ID of appropriate length. Could come with spirometer
1” hole saw | 1 | 1 | Lowes (Item # 348126 Model # 1772481), Zoro (G8039711) | 10.98, 4.81 | Add to drill to produce 1” hole in air-tight box for grommet